Laser-driven particle acceleration

Ondřej Horský – horsky.ondra@seznam.cz and Jaroslav Švec - svec.jara@seznam.cz, Gymnázium Christiana Dopplera

abstract

Present particle (electron and ion) accelerators are widely used in physics, medicine and technology. However, these devices have to be too big to create the necessary energy for applications. Size limits are determined by accelerating field strength (the maximal value of the field is about 100 MV/m). The new method of particle acceleration was discovered with development of high-intensity lasers. Laser pulse excitation of charge separation accelerate particle in quite short distances (µm) due to the high accelerating field of order of TV/m. Present particle accelerators are not able to create beams by those methods that are usually reached by laser particle accelerator

Introduction

The acceleration potential of conventional accelerators is of order tenths of MV/m, after this limit, the accelerating cavities suffer from electrical breakdown of the cavity wall materials. Plasma is already broken down and the accelerating field is not limited by this effect. Due to plasma quasi neutrality, any significant separation of positive and negative charge is accompanied by generation of strong electrostatic field. This field (with strength up to TV/m) can serve as compact ultrahigh-gradient accelerating structure.

Target Normal Sheath Acceleration (TNSA see figure 1) is the one of the methods for laser ion acceleration, usually from metal foil in the normal direction to the foil surface. As mentioned above, the laser is able to excite field intensity of TV/m. The interaction of the ultra-intense laser with the target produces an intense beam of hot electrons. These electrons then move through the target. The most energetic electrons (hot electrons) escape from the target and between the target and the hot electron layer is induced electrostatic field about several TV/m.  As the ions of the target have a very steep density gradient a large electric field is established between the electrons in the sheath and the target bulk (MV/µm). The bulk material and especially hydrogen, that is contained in impurities of the surface layers and in the bulk material, is directly ionized by the field ionization. These ions are accelerated by the electric field. Protons have the highest charge/mass ratio to achieve the highest kinetic energy than heavier ions.

Probably the biggest future opportunities are revealing in medicine. This method will be after elimination all difficulties and after production of stable and monoenergetic proton beams very suitable for radiotherapy of cancer due to their localized action on tumors. That radiotherapy will be more effective in destroying cancer cells and more friendly to the surrounding.

Experimental setup

The ion acceleration experiment was conducted on 20 TW titanium-sapphire laser system at PALS. This system delivers laser pulses with up to 1 J, the puls duration 40 fs, the mean wavelength 810 nm,  and the repetition rate 10 Hz.

Experimental setup is shown in Figure 2. The off-axis parabola (f/3, f = 90 mm) focused laser beam on to proton enhanced target (aluminium foil) with the thickness of 2.4 µm. The main diagnostic system consists of the set of off-axis placed Faraday cup and on-axis placed ring ion collector and SiC detector.  These detectors were used as Time of Flight kinetic energy Spectrometer (TOF). The ring ion collector is composed of four independent collectors. Only two channels were used, one channel was covered by the aluminium foil of the thickness of 2.4 µm to stop low energy ions, and the second channel was uncovered to capture all ions.

Faraday Cup

This is a simple detector consists of cup-shaped electrodes (see figure 3), usually copper.  The electrode surface is covered with a layer of BeO routinely. The impact of ions is to cause the electrons to eject from the surface, which is then captured and an anode creates an electrical current. The current is amplified by an amplifier, unfortunately reducing the noise sensitivity of the detector. This is the preferred method in the measurement of lower energy.

Besides the normal Faraday Cup, we also used the circle Faraday cup. To screen the low energy ions, noise and other particles we used 2,4 µm of Aluminium. All that because except the participles of Silicon from foil, SiO2 (emerging passivation of silicon with oxygen) is accelerated.

Results

Yellow and violet curves are outputs of the on-axis ring ion collector. Those curves have not the same axis range, the y axis is for yellow curve 50x smaller than for other curves (range of the time axis are equivalent)The first visible yellow pike is caused  most energetic ions, the second (violet) pike is caused less enregetic ions, for our experiment useless

Conclusion

The biggest future opportunities are revealing in medicine This method will be after elimination all defects and after tuning (that means possibility of setting a stabilizing the beam of participles of same energy) very suitable for radiotherapy of cancer tumors Radiotherapy will be more effective in destroying cancer cells and more friendly to the surroundingTo reach that, we have to figure a way to accelerate all particles to same energy level.

ACKNOWLEDGMENT: This work is part of project „Voyage to Science“ financed by city of Prague European social fund, organized by Jaroslav Seifert´s grammar school. Many thanks to our supervizor, Ing. Miroslav Krůs, Department of Ultraintense Lasers, Institute of Physics, CAS for his guidance  and advices.

References

[1]  J. Šesták, Moderní metody detekce energetických materiálů. Brno 2009, 19

[2]  P. Zohreh, Laser and new methods of particle acceleration. Upton, NY 1998, 3-5

[3]  V. Malka and P. Mora, Principles of laser–plasma accelerators. France 2009, 3-7

[4]  Francis F. Chen, Úvod do fyziky plazmatu. Praha 1984

# Text boxes

Evropský sociální fond

Praha & EU: Investujeme do vaší budoucnosti

Figure 2: Experimental setup

Figure 1: Target Normal Sheet Acceleration

Figure 3: graphic output of measuring plasma