X-ray fluorescence analysis of archaeological finds and art objects

Ráchel Sgallová, rachel.sgallova@centrum.cz

INTRODUCTION

X-ray fluorescence analysis (XFA) is a nondestructive analytical method often used to study archeological finds. XFA is based on waking and detecting so called characteristic radiation. The researched object is irradiated by radiation X and the characteristic radiation is emitted. In Fig. 1 and 2 it is described how the characteristic radiation arises on surface K. The characteristic radiation on other surfaces arises similarly.

Fig. 1. The absorption of a photon of radiation X by electron at the level K

Fig. 2. The emission of characteristic radiation series K

Energy of characteristic radiation is typical for all elements, so we can find out the composition of examined object.

However, there are also some problems with that method. We do not detect only characteristic radiation; we also detect so called bremsstrahlung. The bremsstrahlung radiation arises when accelerated electrons are slowing down or changing their direction. It can have all energies from 0 to accelerating voltage (usually near to 30 kV).

It happens often, that line K of one element overlaps with line L of another element. For example Lα of Pb is 10.549 keV and Kα of As is 10.543 keV. We have to use another, less intense, lines of this elements.

Also, is really hard to detect small energies and to wake characteristic radiation of heavy elements, so we can effectively detect elements from Si to Pb. That means that we often can’t use XFA to study organic material, because the majority elements are C and H and they are so light.

XFA can only find out, which elements are in the examined object and their amount, but it can’t find out chemical composition.

## EXPERIMENTAL

We use an X-ray tube with a molybdenum anode and a silicon detector. The whole apparatus is in the glass box because the glass shades off the X-rays.

One measurement takes usually 5 or 10 minutes, the time matter at if we only want to know, if some element in the examined object is, or if we want to know the amount of it.

To perform quantitative analysis are needed standards. Standards are small subjects whose composition is known with accuracy of hundredths of percents.  The standards also have to be homogenous. We analyze the standard and count how many impulses would be from specific element, if the whole subject (100%) is made from that element. A program WinAxil for quantitative analysis can calculate with more data, such as time or chemical form of specific element, and its results are more accurate.

Thanks to the standards we can also find out so called detections limits. Those are minimal concentrations of specific element when we can find out the peak of that element in the spectrum.

Fig.3. The apparatus with the computer

Fig.3. The detail, on the left is the source of X-rays, on the right is detector and in the middle is examined object.

DETECTION LIMITS

In Tab. 1 there are detection limits for Si and Pb. The acquisition time was 5 minutes. The column „Peaking time” means time, given to the detector to evaluate one impulse. If that time is bigger, the counted value is accurate, but the detector can count two impulses as one.

TAB. 1. Detection limits

| Detector | Current | Peaking time | Detection limit |
| --- | --- | --- | --- |
|  |  |  | Si | Pb |
| Si-PiN | 100 μA | 12.8 μs | 5.8% | 0.018% |
|  | 10 μA | 12.8 μs | 1.37% | 0.0087% |
|  | 20 μA | 3.2 μs | 1.12% | 0.0074% |
| SDD | 3 μA | 6.4 μs | 0.54% | 0.043% |
|  | 100 μA | 0.8 μs | 0.15% | 0.0097% |

You can see that the SDD detector can better detect lighter elements, such as silicon.

OLD MANUSCRIPT

Because XFA is nondestructive we have used it to analyze one old manuscript. XFA was used to analyze five places on the manuscript – blue pigment, text, two red pigments and the parchment. It is important to analyze the parchment, because all the elements, which are in the parchment, we can also see in the spectrums of pigments and the text.

Fig.4. First side of manuscript

Fig.5. Second side of the manuscript

In the first red pigment there are mercury and sulphur, so that is vermilion (HgS). In the second red there are mercury, sulphur and lead, so that is vermilion with minium (Pb3O4) or with white lead. And in the blue there is cuprum, so that is azurite 2CuCo3.Cu (OH) 2.

### CONCLUSIONS

The Si-PiN detector is suitable to study heavier elements and the SDD detector is better to study lighter elements.

XFA is very useful to study artifact, especially to study pigments, but really can’t find out chemical composition.

ACKNOWLEDGMENT:

I want to thank to my supervisor Ing. Tomáš Trojek, Ph.D. for leadership of mini-project, to project „Cesta k vědě“ and to Department of Dosimetry and Application Ionizing Radiation at FJFI ČVUT.

REFERENCES

- T. Trojek: Využití rentgenfluorescenční analýzy při studiu památek [Doktorská práce (Ph.D.)] (Praha: ČVUT, Fakulta jaderná a fyzikálně inženýrská, KDAIZ 2006)

- M. Hegr: Technika malířského umění (Umělecká beseda, Praha-1941)

- D.I. Kiplik: Technika malby (Výtvarné nakladatelství Orbis, Praha-1952)

- B. Slánský: Technika malby I (Státní nakladatelství literatury, hudby a umění, Praha-1953)

- B. Slánský: Technika v malířské tvorbě (malířský a restaurátorský materiál) (SNTL, Praha-1976)

- J. Hopliński: Farby a spoiwa malarskie (Zaklad Narodowy imenia Ossolińskich Wydawnictvo, Wroclaw-Warszawa-Krakow-1990)

- S.J.Fleming: Authenticity in Art (The Scientific Detection of Forgery) (The Institute of Physics, London-1975 )

- R. L. Feller: artist Pigments, A Handbook of their History and Charakteristics (National Gallery of Art, Washington-1986)

# Text boxes

Evropský sociální fond

Praha & EU: Investujeme do vaší budoucnosti